| ## West Gippsland Waterwatch Volunteer Water Quality Monitoring Data Sheet |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # Site Details |  |  | # Test Details |  |  |
| Site Code: Mossvale Park |  |  | Date: 6/7/2016 |  |  |
| Site Name: Tarwin River |  |  | Time: 3:15 | AM | PM |
| Site Grid Reference | Easting: |  | Person(s) Conducting the Survey / Test: Jem, Beth & Jacob |  |  |
|  | Northing: |  | Name of Monitoring Group: Milkins |  |  |

| Your Meter - Reading Before Calibration (when in CAL Mode) |  |  |  | Your Meter - Reading Post Calibration (after pressing the ENT button) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EC Meter | 1430 |  |  | EC Meter | 1410 |  |  |
| pH Meter in 7.01 | 7.5 | pH Meter in 4.01 | 4.8 | pH Meter in 7.01 | 7.0 | pH Meter in 4.01 | 4.0 |

| Water Condition (Circle) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Steady Flow | Rising | Peak | Falling | Stagnant (pools) | Dry (no water) |

Any Comments for Your Facilitator?

The river was at bankfull See attached photos for images of the river Jem would also like to say, she collected the sample this time and not Bethany

| # Test Results |  |  |
| --- | --- | --- |
| Air Temperature | 14.7 | oC |
| Water Temperature | 13.6 | oC |
| pH | 6.7 |  |
| Electrical Conductivity | 350 | μS mS |
| Reactive Phosphorus | 0.55 | mg/L P |
| Turbidity | 63 | N.T.U. |
| Dissolved Oxygen: |  | mg/L % |

| # Weather Conditions at Time of Sampling |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sunny |  |  | Cloudy |  |
| Overcast |  |  | Raining |  |
| Windy |  |  |  |  |
| # Last Rainfall |  |  |  |  |
| More than a week ago |  | During the last week |  |  |
| During the last 24 hours |  | Raining Now |  |  |
| Amount of rain: |  |  |  | mm |

| # Water Appearance |  |
| --- | --- |
| Clear | Muddy |
| Milky | Foamy / Frothy |
| Stained Green | Stained Brown |
| Smelly | Scummy |
| Oily | Other: |

| # Drains |  |  |
| --- | --- | --- |
| # Drain Flow: | # Drain flowing | # Drain not flowing |