| ## West Gippsland Waterwatch Volunteer Water Quality Monitoring Data Sheet |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # Site Details |  |  | # Test Details |  |  |
| Site Code: Mossvale Park |  |  | Date: | 27/7/2016 |  |
| Site Name: Tarwin River |  |  | Time: 12:30 | AM | PM |
| Site Grid Reference | Easting: |  | Person(s) Conducting the Survey / Test: Jem & Jacob |  |  |
|  | Northing: |  | Name of Monitoring Group: Milkins |  |  |

| Your Meter - Reading Before Calibration (when in CAL Mode) |  |  |  | Your Meter - Reading Post Calibration (after pressing the ENT button) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EC Meter | 1550 |  |  | EC Meter | 1410 |  |  |
| pH Meter in 7.01 | 7.5 | pH Meter in 4.01 | 4.8 | pH Meter in 7.01 | 7.0 | pH Meter in 4.01 | 4.0 |

| Water Condition (Circle) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Steady Flow | Rising | Peak | Falling | Stagnant (pools) | Dry (no water) |

Any Comments for Your Facilitator?

Near bankfull, signs of previous flooding present Water levels look as though they have been consistently high since last water quality testing No pollutants present

| # Test Results |  |  |
| --- | --- | --- |
| Air Temperature | 15.0 | oC |
| Water Temperature | 12.3 | oC |
| pH | 6.3 |  |
| Electrical Conductivity | 270 | μS mS |
| Reactive Phosphorus | 0.015 | mg/L P |
| Turbidity | 24 | N.T.U. |
| Dissolved Oxygen: |  | mg/L % |

| # Weather Conditions at Time of Sampling |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sunny |  |  | Cloudy |  |
| Overcast |  |  | Raining |  |
| Windy |  |  |  |  |
| # Last Rainfall |  |  |  |  |
| More than a week ago |  | During the last week |  |  |
| During the last 24 hours |  | Raining Now |  |  |
| Amount of rain: |  |  |  | mm |

| # Water Appearance |  |
| --- | --- |
| Clear | Muddy |
| Milky | Foamy / Frothy |
| Stained Green | Stained Brown |
| Smelly | Scummy |
| Oily | Other: |

| # Drains |  |  |
| --- | --- | --- |
| # Drain Flow: | # Drain flowing | # Drain not flowing |